## Sheet1
Description | Details
Floor-Wet Mop | Spillage’s cleaning in parking area & inside the garbage room floor building
Floor-Wet Mop | Spots cleaning in garbage room wall building
Water Leak | Water Leakage from the AC
Not Working | AC not working
Fire Alarm Activation | Fire alarm activated
Fire Alarm Activation | Fire alarm activated
Floor-Litter Picking | near Electrical room need to clean the area
Hand Spray damage | Smuggling water from the stopper
Water Quality Issue | water issue
Water Hammering Exists | There is water from the ceiling of the bathroom
Not Working | ac not working
Water Quality Issue | Water leaking from the kitchen ceiling
Remove-Shrub Waste | Trimming required fro unwanted grass
Sink dripping | need to check washing machine error
Water Quality Issue | Water leaking from the kitchen ceiling
Not Working | Ac issue
Fix Door | door need to repair
Hand Spray damage | plumbing issue
Floor-Wet Mop | Need to clean lift dirty marks
Cubicle Waste Collection | & nearby garbage room need to collect the waste
Busted Fuse | Kitchen light is not working
Damaged Gypsum Ceiling Need To Repair | found in toilet ceiling access damaged
Damaged Gypsum Ceiling Need To Repair | balcony holes need to be closed
Busted Fuse | Building no building no Main entrance ceiling light not working
Busted Fuse | Building no building no parking light not working
Damaged Gypsum Ceiling Need To Repair | Access door need to be repaired
Fire Alarm Activation | Fire Alarm activated
Treatment for Flying & Crawling Insects | 818- Security office -Driver Room no Need pest control
Busted Fuse | Electrical issue in kitchen
Not Working | AC not working
Treatment for Flying & Crawling Insects | Fly Trap Replacement
Fix Door | wash room door frame need to be fixed
Repainting Of Wall | wall repair and paint work required
Repair Concrete Manhole | kitchen hole cover need to be fixed
Front Of House and/or Back Of House | building no Fire Pump room.Fire pump room cleaning
Fire Alarm Activation | Fire alarm activated in
Defected Hand Spray | need to remove spot on wc and checked the handspray
Not Working | Air conditioner water leakage
Sink - Bad smell | Water leakage issue
Water tap Broken | Ground floor parking area need to check water tap its broken
Lighting | floor stair pic light not working
Defected Hand Spray | found in toilet hand spray damaged need to repaired
Light switch not working | car parking Electric socket cover need to work
Light switch not working | Roof top Electric socket cover need to repair
Defected Hand Spray | found hand spray damaged and water leakage
Busted Fuse | Ground entrance lobby aria light not working
Defected Hand Spray | found in toilet hand spray damaged
Defected Hand Spray | found in hand spray damaged
Defected Hand Spray | found in toilet hand spray damaged
Sink clogged | need to repair drain issue
Hand Spray damage | leakage water from the stopper
Fire Alarm Activation | Fire alarm activation
Cubicle-Cleaning | Garbage bin Need to clean
Valve damage | water Heater not working
Floor-Wet Mop | planter box area need to be cleaned
Valve damage | Water leaking from the kitchen ceiling
Fire Alarm Activation | Fire alarm activation
Damaged Wooden Cabinet Needs Repairing | there is hole in the ceiling and bird nest in the hole
Cable Shorted | There is an electrical short in the circuit breaker
Dirty water | water leakage from the wall
Low Pressure | leak in the bathroom ceiling
Ceiling Leak | ceiling water leakage
Busted Fuse | Some light not working & Doorbell need to be installed
Fire Alarm Activation | Fire alarm in
Hand Spray damage | Hand spray damaged in and water leakage
Toilet clogged | th floor garbage room drain blocked
Waste Bin Emptying | building no Garbage chute room. Waste Management
Not Working | AC not working
Road-Scrubbing | Location- Zone B Drainage of stagnant water
Not Working | AC not working
Fire Alarm Activation | fire Alarm
Not Working | AC not working in children room
Fire Alarm Activation | Fire alarm in
Treatment for Flying & Crawling Insects | building need to do pest control treatment
Columns-Cleaning | need to clean above head pipe
Fix door closure | need to repair electric door room lock
Water Leaks | manhole leakage need to fix
Ceiling Leak | water leakage from bathroom ceiling
Ceiling Leak | water leakage from bathroom ceiling
Light flickering | 800-driver room no no light need to check
Busted Fuse | kitchen light not working
Garbage Chute-Cleaning | garbage bins need to clean
Light switch not working | pump room submersible motor need to repair
Hand Spray damage | found in both toilets hand spray damaged & wc flush need to check
Floor-Scrubbing | emergency stairs need to clean
Floor-Wet Mop | Parking area need to clean
Shrub-Pruning & Shaping Required | Locationtrimming of pennisetum grass need to cut
Not Working | AC is not working
Light flickering | Power issue in the kitchen
Fire Alarm Activation | Fire Alarm at
Fire Alarm Activation | Fire Alarm at
Bulk Waste-Collection | building no Garbage room , Waste Management
Treatment-Outdoor Fogging | building no to , Fogging treatment
Bulk Waste-Collection | building no Waste Management
Water Leaks | Water leakage from the roof pipe#838
Stairs-Wet Mopping | bulding Staircase need Cleaning
Light flickering | ceiling light is not work in common area
Water Leak | Water leakage from AC in
Sink clogged | parking area floor drainage blocked
Sink clogged | Water leakage from floor
Ceiling Tiles-Cleaning | Near interlock cleaning
Damaged Marble Needs To Replace | front side masjid found ladies pray room entrance stair found marble damaged
Sink clogged | water leakage in toilet
Not Working | AC need to cleaning
Water Leak | Water leakage from AC
Not Working | AC is not working in
Not Working | AC I s not working in
Damaged Gypsum Ceiling Need To Repair | Toilet ceiling need to be repaired in
Repainting Of Wall | The air conditioners were repaired, the wall was broken, but the repair was not done
Ceiling Leak | water leakage from wall
Ceiling Leak | water leakage from ceiling
Pipe Leak | car parking area water leakage from rain water pipe
Busted Fuse | Electrical power issue in
Ceiling Leak | Water leakage from the ceiling
Front Of House and/or Back Of House | bulding chutt machine garbage removing and cleaning
Front Of House and/or Back Of House | bulding Parking cleaning
Front Of House and/or Back Of House | bulding garbage bins cleaning
Front Of House and/or Back Of House | bulding Garbege Room cleaning
Water Leak | Water leakage in kitchen
Busted Fuse | Kitchen light is not working in
Water Leak | water leakage from AC
Sink clogged | Drainage blocked Drivers bathroom
Not Working | AC not working driver room
Sink clogged | Drain cover missing
Busted Fuse | Light not working
Not Working | AC not working in
Not Working | AC not working
Fire Alarm Activation | Fire Alarm activated
Water Leaks | Water leakage in toilet
Water Leak | Water leakage from the
Fire Alarm Activation | Fire Alarm
Treatment for Flying & Crawling Insects | Zone-A & C all Occupied buildings.Fly Ribbon Replacement
Front Of House and/or Back Of House | Zone A building no Fire Pump room. Fire pump room cleaning
Waste Bin Emptying | need to change Garbage bin
Ceiling Finish Needs Repainting | Gypsum falling & Toilet ceiling need painting
Not Working | Ac not working
Waste Bin Emptying | Near Building no Recycle bins waste line need to change
Sink clogged | Plug drains need plumber
Cubicle Waste Bin-Cleaning | Building no.need to clean garbage bins
Floor-Wet Mop | Building no.need to garbage room clean
Floor-Wet Mop | Building no.need to clean car parking area
Unlock Door | Front side masjid found in ladies toilet door lock was stuck need to repair
Water Leaks | found in toilet wc flush need to check
Infestation Treatment-Termites | Location: Zone-B.823need to do Quick Fly Bait inspection
Floor-Wet Mop | need to do Front Interlock cleaning
Fire Alarm Activation | fire alarm activation
Sink clogged | parking area floor drain was blocked need to check and repair
Fabricating & Installing Wooden Cabinets | All vacant apartment balcony holes need to close
Ceiling Leak | Water leaking from the ceiling
Damaged Block Wall Need To Repair | front side wall marble repair
Not Working | The air conditioners are not working
Not Working | Broken air conditioners
Broken WC | plumbing issue leaking water from the ceiling
Broken WC | Water leaking from the kitchen ceiling
Water Quality Issue | Smuggling siphon water 839
Not Working | AC not working
Treatment for Flying & Crawling Insects | Insecticide spraying 844
Water Leak | Water smuggling from the bathroom 832
Replace door lock | Door lock changed
Water Leak | Water smuggling from the wall 824
Water Leak | water leak from AC in
Ceiling Leak | Water smuggling from the heater 842
Front Of House and/or Back Of House | bulding Need to do Front Interlock cleaning
Not Working | The air conditioners are not working
Busted Fuse | Ceiling light not working
Busted Fuse | lighting issues
Fire Alarm Activation | 834- Fire Alarm
Not Working | AC not working MOD musjid. Near
Not Working | AC not working
Not Working | AC not working
Fire Alarm Activation | Fire Alarm
Front Of House and/or Back Of House | building no Fire Pump room.Fire pump room cleaning
Hand Spray damage | Hand spray hose damaged in
Not Working | AC PCB CARD is not working
Water Supply Interruption | water cut off
Treatment for Flying & Crawling Insects | Misting spray treatment inside garbage room.zone B
Floor-Wet Mop | Zone-B, playing area near building no.830.building no.830 besides paying area removing dirty spots
Not Working | Ac Outdoor unit motor defect Driver Room
Busted Fuse | Lighting issue
Water Leak | water leakage from the kitchen
Water Leak | ac not working
Cubicle Waste Bin-Cleaning | Garbage room need to clean
Not Working | found in kitchen Cassette Ac indoor Cover need to check
Toilet flush not working | found in toilet wc flush not working
Cubicle Waste Bin-Cleaning | Garbage bin need to clean
Damaged Gypsum Wall Partition Need To Repair | need to repair ceiling
Cable Shorted | There is an electricity problem
Remove-Shrub Waste | Location -Zone B - Building no planter cleaning
Not Working | ac not working
Damaged Ceiling Plaster Needs To Repair | water leakage from the ceiling
Damaged Block Wall Need To Repair | car parking Wall need to repair
Floor-Wet Mop | Building noSide interlock cleaning
Not Working | ac is not working need to check
Damaged Marble Needs To Replace | Ground floor out sideplanter box marble need to repair
Damaged Fence | out sidestreet light need to fix
Cubicle Waste Bin-Cleaning | Building no. garbage bins cleaning
Hand Spray damage | water leakage from the bathroom
Water Leak | Water leaking from the air conditioner
Defected Electric Water Heater | Water heater issue
Busted Fuse | Lighting issue in
Ceiling Leak | Water leak from the ceiling
Fire Alarm Activation | Fire Alarm AT
Bulk Waste-Collection | Zone A building no . Waste Management
Busted Fuse | The lighting is not working in the sixth floor corridor
Not Working | leakage from the ac
Floor-Wet Mop | Location -Zone B - Garbage room need to clean
Stairs-Scrubbing | Location -Zone B - need to clean Staircase
EFK Machine-ULV Globe Replacement | Location Zone-B All building's.Activity: ULV Spray Treatment
Cubicle-Cleaning | Need to cleaning spots on garbage bins
Cubicle-Cleaning | Cleaning garbage room doorsno.833
Frames | front side masjid found in ablution area soap dispenser was fall down need to fix
Waste Bin Emptying | Near Building noRecycle stone bins waste liner change
Fire Alarm Activation | fire alarm activation
Not Working | ac is not working
Floor-Wet Mop | spillages cleaning in garbage room door building’s