## maximo_classifications
description
Cleaning
Cleaning of Common Areas and Corridors
Building Envelope / FaÃ§ade
Cleaning of Building FaÃ§ade
Cleaning of Building FaÃ§ade Metal Structure
Cleaning of Louvers and Canopies
Cleaning of Curtain Wall
Cleaning of Glass Panels
Cleaning of Frames
Cleaning of GFRC
Cleaning of Stone
Cleaning of Windows
Cleaning of Skylights
Cleaning of Precast Concrete
External Areas Cleaning
Cleaning of Parking Bays
Cleaning of Curbside
Cleaning of Pathways / Walkways
Cleaning of Ramps
Cleaning of Entrance
Cleaning of Columns
Cleaning of Bollard Posts
Cleaning of Water fountains
Sweeping of Streets
Cleaning Furniture
Cleaning of Tables
Cleaning of Chairs
Cleaning of Shelves
Cleaning of Art of Work
Cleaning of Counters
Cleaning of Desks
Cleaning of Carpet
Toilet Cleaning
Tissue Request
Soap Refill
Bad Smell
Cleaning of Office/Room
Cleaning of Equipment
Cleaning of Elevators
Cleaning of Elevators Pits
Cleaning of Mechanical Rooms, Plant and IT Data Rooms
Cleaning of Loading Bays Areas
Cleaning of Storage / Warehouse / Workshops
Cleaning of Hardware Accessories
Cleaning of Stairs
Cleaning of Stairs Handrail
Cleaning of Prayer Rooms
Cleaning of Prayer Rooms Carpet Cleaning
Cleaning of Fire hose Cabinets
Cleaning of Ceiling Tiles
Cleaning of Walls
Cleaning of Stainless Steel
Cleaning of Columns
Cleaning of Flooring
Moping of Flooring
Waxing of Flooring
Cleaning of Curtains
Cleaning of Marble Flooring
Cleaning of Floor Mat
Cleaning of Skirting
Cleaning of Joints
Cleaning of Trash Rooms
Cleaning of Glass Doors
Cleaning of Signs
Cleaning of Mirrors
Sanitizer Refill
Cleaning of Bollard Posts
Cleaning of Smoking Area / Room
Cleaning After Water Leak
Cleaning of Shutter Doors
Others
Toilet Tissue Paper Refill
Waste Management
Waste Collection
Trash Containers Cleaning and Disinfection
Trash Container Displacement
Trash Container Removal
Change Waste collection time
Cleaning Surrounding Area and Overflow
Bad Smell
Waste Containers Maintenance
Missing Waste Bin Cover
Dedatched Waste Bin Cover
Cleaning and Disinfection of Waste Storage Area
Missing Waste Bin Wheel Stopper
Defected Waste Bin Wheel
Cleaning and Disinfection of Waste Compactors
Waste Compactors Annoying Gas Emissions
Defected Waste Bin
Others
Pest Control Management
Rodent Control
Apply Treatment for Rats & Mice
Flying & Crawling Insects Control
Apply Treatment for House Flies
Remove the nest and Apply Treatment for Pees and Wasps
Apply Pesticides for Fruit Fly and Drain Fly
Apply Treatment for Mosquitoes
Apply Treatment for Cockroaches
Apply Treatment for Ants
Apply Treatment for Beatles
Apply Treatment for Scorpions
Apply Treatment for Centipede
Apply Treatment for Spiders
Birds Control
Pigeons and Dove
Remove and Clean Nest
Collect Eggs
Install Traps
Cats and Dogs Control
Capture Cats
Capture Dogs
Lay Cages For Catching Stray Cats
Lay Cages For Catching Stray Dogs
Remove Wasted Cats
Remove Wasted Dogs
Snakes and Lizards
Capture Indoor Snakes
Lay Glue Board for Indoor Snakes
Apply Full Treatment for Outdoor Snakes
Capture Lizards
Indoor Treatments
Conduct Wall to Floor Treatment for Indoor Pests
Conduct Treatment for Indoor Manholes and Drains
Apply Mechanical Traps and Glue Boards for Rodents
Trap is defected
Trap was displaced
Conduct ULV Treatment for Indoor Flying Insects
Apply Roaches Gel Treatment for Kitchen Cabinets
Sterilization of Waste Areas
Others
Sewerage and Storm Drainage
Pump does not operate
Pump fails to prime
No discharge from pump
Not enough pressure
Excessive power consumption
Pump is noisy or has excessive vibration
Pump Not priming
Noisy pump
Pump producing Excessive Power draw
Pump expereince Hot eccentric bearing
Eccentric pin failure
Pump Low capacity
Pump Pressure Failure
Pump Escessive Vibration
Pump rpoduce mechanical noise
Oil Leakage
Pump Overheat
Blower Casing is defected
Air Blower Switch is defected
Air Blower Cabling Termination
Driven Belts are damaged
Driven Belts tension issue
Driving Pulley is defected
Pulleys and Belts need alignment
Blower motor Overheating Issue
Blower motor Ventilation Fan
Compressor not working
Excessive Vibration of Compressor
High discharge air temperature.
Compressor Mechanical Noise
Oil particles observed in discharge air.
High Oil
Low pressure at point the of use
Damaged Belt
Reducer noisy
Oil Leakage
Intermittent Flow
Air Leakage
Loss of pressure
Pump Casing is Leaking
Float Switch is defected
Float Switch Cabling is defected
Pump Motor is overheated
Pump Motor Ventilation Fan
Pump Check Valve is defective
Pump Piping Hangers and Supports Issue
Pit / Reservoir to be cleaned
Pumps Suction Strainers to be Cleaned
Pumps Squence of Operation is not working
Pumps Electrical Panel Indicator Lamps
Pumps Electrical Panel Buttons
Pumps electrical Panel is Dusty
Pumps Electrical Cabling termination
Pumps Crane Chain is defected
Manhole Chamber Settlement
High Amperage
Electrical Systems
Power Outage
Power Fluctuation
Cables
Cables Low Voltage
Grounded Cable
Burnt Joint
Cable Shorted
Low Resistance
Exposed Cable
Cable Termination Issue
Cable Trunking Issue
Cable Tray Loose
Cable Tray Hangers and Supports
Cable defected Lugs
Others
Cathodic Protection System
System Not Working
System Did Not Stop Corrosion
Components Defective
Low Voltage Maintenance
Exposed Wire
No Power to outlet
Detached Outlet
Missing outlet Cover
Missing outlet
Defective Outlet
Burnt Outlet
No Power to Equipment
Burning Smell
Breaker Defective
Switch Defective
Switch Cover Missing
Noisy Ballast
Signage Light Defective
Blinking Light
Dirty Lighting Fixture
Hot Panel Board
Defective Ballast
Blackout
Timer Delayed
Timer Defective
Short Circuit
Isolator Switch Defective
Exit sign light defective
Panel Board cover missing
Assist A Contractor in electrical work
Reset the breaker
Disconnect the power on a unit
Substation Alarm
Burnt Plug
New Socket installation
Electrical Hand-Holes
Electrical Manhole Full Of Water
Electrical Manholes Cover Backfilled With Sand
Spliced Joint Defective
Electrical Manhole Full of Sands
Electrical Manhole cover is missing
Re-fix electrical manhole cover
Low Voltage Cables
Grounded Cable
Burnt Joint
Cable Shorted
Low Resistance
Cathodic Protection
System Not Working
System Did Not Stop Corrosion
Components Defective
Motors
Not Working/No Power
Grounded Motor
Burnt Winding
Noisy Operation
Abnormal Vibration
Overheating
Defective Bearing
Motor tripped
Motor Cables Termination
Motor Ventilation Fan
Motor Alignment and Displacement
High Voltage & Power Generation
Power Generation System
Power Generation System ( Operation ) Uv1/ Cs22
Generator No Diesel
Generator Starting Failure
Diesel Engine Fuel Level Low
Generator Alarm
Generator Over Crank
Reverse Power
Indicators Not Working
Meters Not Working
High Vibration
Generator Leaking
Generator Exhaust Issue
Generator Exhaust of Black Smoke
Generator Exhaust of White Smoke
Generator fluctuating Noise
Generator abnormal Vibration
Generator Fresh Air Dampers
Generators Fresh Air Filters
Generator Display Screen
Generator Slab Dampers and Displacement
Generator Manifolds Connections
Generator Water Leak
Generator Agent Leak
Generator Oil Leak
Electrical Generation
Self Starter Defective
Governor Actuator Problem
Alternator Problem
Battery Weak
Loss Of Excitation
Light plant not working
Loose Connection
Circuit Breaker Defective
Fuse Defective
Mechanical Generation
Radiator Leak
Airlock
Fuel Pump Defective
Air Pressure Low
Governor Defective
Filter Blocked
V-Belt defective
Oil leak
Low oil level
Oil Filter Defective
Defective Breaker
Defective Invertor
Emergency Light Defective
Power Distribution System
Substation Alarm
Substation Abnormal Status
Substation No Indication
Substation No Power
Low Output Voltage
CT/VT Defective
Grounded Part
Transformer problem
Transformer leak
Feeder tripped
Medium Voltage Switchgear Problem
Switchgear Cubical Physical condition
Switchgear Metering and Indicators
Switchgear Racking Mechanism
Measuring device Defective
Defective Switch
Defective Relay
Indicator lamp burnt
Indicator lamp burnt
Medium Voltage Switchgear Problem
Measuring device Defective
Defective Switch
Power Protection System
AVR Defective
Annunciator Board Defective
Control Fuse Busted
Under Voltage Relay Defective
Condensing Tripping Device Defective
Medium Voltage Protection Relay Defective
Duct-Banks
Conduit Damaged
Spare Conduits Utilized By Contractor
Lost Duct Bank Route
Full Of Sands
Medium Voltage Cables
Grounded Cable
Burnt Joint
Cable Shorted
Low Resistance
Need Cable Locator
Grounding & Lightning Systems
Grounding Resistance is high
Corroded Ground Rods/Bars/Air Rods
Main Grounding Cable Cut
Down conductor Defective
Air conductor Defective
Equipotential wire not connected to equipment
LOAD CENTER -ELECTRICAL
CIRCUIT BREAKER TRIP
GROUNDED FEEDER CABLE
CIRCUIT BREAKER DEFECTIVE
BURNT FUSE
BUSTED LIGHT
BROKEN LIGHT DIFFUSER
MISSING LIGHT DIFFUSER
NO POWER TO OUTLET
DETACHED OUTLET
MISSING OUTLET
DEFECTIVE OUTLET
BURNT OUTLET
BURNT PLUG
BURNING SMELL
BREAKER DEFECTIVE
SWITCH COVER MISSING
SIGNAGE LIGHT DEFECTIVE
BLINKING LIGHT
HOT PANEL BOARD
DEFECTIVE BALLAST
BLACKOUT
TIMER DEFECTIVE
SHORT CIRCUIT
EXIT SIGN LIGHT DEFECTIVE
PANELBOARD COVER MISSING
GROUNDED CABLE
BURNT JOINT
LOW RESISTANCE
HEATING/COOLING ELEMENT DEFECTIVE
EQUIPMENT NOT WORKING EFFICIENTLY
DETACHED LIGHT FIXTURE
EXPOSED WIRE
MISSING OUTLET COVER
BURNT LIGHT FIXTURE
NO POWER TO EQUIPMENT
SWITCH DEFECTIVE
NOISY BALLAST
DIRTY LIGHT FIXTURE
TIMER DELAYED
ISOLATOR SWITCH DEFECTIVE
DIM LIGHT
CABLE SHORTED
DEFECTIVE SWITCH
ASSIST A CONTRACTOR IN ELECTRICAL WORK
RESET THE BREAKER
DISCONNECT THE POWER ON A UNIT
SUBSTATION ALARM
Electric wire exposed
Cable Management
Socket is Broken
Electric wire burned out
Earthing System
Earth pit dirty
Earth pit concrete damage
Earth pit rod damage.
Earth pit rusted.
Earth pit cover is missing
Earth pit cover is broken
Others
Smart Metering System
Smart meter workstation offline
Unable to extract the meter reading from WS
M-bus controller is not working
Meter reading missing from workstation
BTU meter not working
WM is not working
Electrical meter is not working
M-bus loop issue/cute
Gate way connectivity issue
M-bus controller power supply issue/down
Meters battery faulty
M-bus loop voltage drop
Smart meter workstation software license expires
Smart meter workstation software not working
Need to configure the BTU,WM & EM
Replace the faulty meter
HVAC
Thermostat
Thermostat Not working
Thermostat Damaged
Programing
Others
Ventilation fan not working
Air Handling Unit
Blocked Filter
Water Leak
Coil Blocked
Blocked Drain Line
Defective Bearing
Pillow Block Bearing Defective
Noisy Operation
Bad Smell
Duct Broken
Duct Deattached
Duct Noisy
Humidifier Not Working
Supply Air Damper Closed
Return Air Damper Closed
Fresh Air Damper Closed
Motor Pulley Worn Out
Air Filters Blocked
Compressor Not Working On Auto Mode
JLP Panel Air Leak
Wrong Gauge Reading
AHU Not Running IN Auto Mood
AHU Tripping
No Air Flow
Low Air Flow
High Air Flow
Wrong Temperature Reading
Wrong Filter Differential Pressure Reading
Indicator Not Operational
Guide Vane Actuator Not Open
Humidifier Not Working (Controller)
Supply Air Damper Closed (Controller)
Return Air Damper Closed (Controller)
Fresh Air Damper Closed (Controller)
Air Filters Blocked (Controller)
Compressor Not Working On Auto Mode (Controller)
Chilled Water Pumps
Not Working/No Power
Bearing Defective
Mechanical Seal Defective
Coupling Broken
Noise observed during ac operation
Coupler is misaligned
Priming Failure
Inability to Build Pressure
Delivery Failure
Excessive Vibration
Reduced Capacity
Motor Overload
Loss of liquid
Pump Suction Strainer Blockage
Wrong Suction and Discharge Pressure Reading
Temperature Indicator Controller Not Operating
High Chilled Water Temperature
Low Chilled Water Flow
No Chilled Water Flow
Pneumatic Valve Not Operating
Valves Not Working
Others
FAN-EXHAUST
Not Working/No Power
Motor Grounded
No Proper Suction
Duct Detached
Damaged Fan
Noise observed during ac operation
Others
BACnet Controller
Fan Coil Unit
Motor burnt
Motor needs alignment
Motor not working
Motor noise
Electrical connection not working
BACnet controller not working
Magnetic contactor damaged
Actuator disconnected
Actuator not responding
Actuator damaged
Belt damaged
Belt loosed
Belt burned
Bearing damaged
Bearing jammed
Air intake blocked
Damaged filter
Dirty filter
Damaged fan
Jammed fan
Blower noise
Cooling coil blocked
Heating coil blocked
Chilled water leakage
Drain water leakage
Drain line blocked
Duct damaged
Supply valve damaged
Return valve damaged
Bypass valve damaged
Speed controller/on/off switch not working
Thermostat not working
Grills & Diffusers
Grill/Diffuser Damaged
Grill/Diffuser Detached
Grill/Diffuser Missing
Grill/Diffuser Noisy
Grill/Diffuser Frame Missing
Cleaning of AC Grills
Others
Cleaning of HVAC Outlets
Others
Defected Pressure Gauge
Defected Temperature Gauge
Defected Motorized 2-Way Valve
Defected Hook-Up Isolation Valve
Strainer Blockage
Hook-Up Drain Valve is defected
Hook-Up Air Release/ Vent requires Checking
Hook-Up Insolation and Cladding Issue
Hook-Up Piping Connection Issue
Hook-Up Piping Hangers and Supports Issue
Insufficient Supply Chilled water Temperature
High Delta T
Expansion Joint requires checking
Blower Casing is defected
Driving Belts and Pulleys need Alignment
AHU Body Physical Condition defect
AHU Door Handle is defected
AHU Service Lamp is Busted
AHU Air Filter Differential Pressure Switch is defected
AHU Air filter Manometer is defected
AHU Filteration Feature: UV Lamp / Oil filter
AHU Door Sight Glass is defected
Duct Vibration
Duct Constant Air Volume Issue
Duct Constant Air Volume Damper Mechanism
Duct Variable Air Volume Issue
Duct Variable Air Volume Mechanism
Duct Variable Air Volume Controller
Duct Variable Air Volume Actuator
Duct Variable Air Volume Wiring Termination
Duct Variable Air Volume - Heating Feature
Civil Services
Painting
Ceiling Finish Needs Repainting
Repainting Of Wall
Repainting Of Columns
Repainting Required- Color To Match Existing
Touch Up Painting Required
Painting of Handicapped Ramps and Lines
Peeled Off Paint- Needs Repainting
Damaged Road Signage Paint Needs Repainting
Damaged Paint Of Bollard Post Needs Repainting
Damaged Door Paint Needs Repainting
Damaged Door Frame Paint Needs Repainting
Defected Picture Frame Needs Re Painting
Painting Of Sign Post
Damaged Epoxy Flooring Need Repainting
Varnish & Revarnish Of All Kind Of Furniture
Defected Wooden Furniture Finishing Needs Varnish
Provide ceiling access
Carpentry
Fix office table
Fix Window
Fix Door
Fix Sofa
Fix Chair
Missing Door Closer Need To Re Install
Missing Door Stopper
Missing Door Latch
Fix cupboard/ cabinet
Defected Window Blind Need To Repair / Replace
Defected Window Frame Need To Repair / Replace
Replace Broken glass
Defected Window Screen Need To Repair / Replace
Fabricating & Installing Gypsum Wall Partition
Damaged Gypsum Wall Partition Need To Repair
Damaged Baseboard Need To Repair/ Replace
Broken Glass Wall Need To Replace
Broken Glass Panel Need To Replace
Fabricating & Installing Wooden Pictures Frames
Damaged Wooden Picture Frame Needs Repairing
Fabricating & Installing Wooden Cabinets
Damaged Wooden Cabinet Needs Repairing
Fabricating & Installing Wooden Floor
Damaged Wooden Floor Needs Repairing
Office Movement Requests
Damaged Gypsum Ceiling Need To Repair
Defected Ceiling Acoustic Tiles Need To Replace
Broken Mirror Needs To Replace
Concrete Form Work
Repairing Of Drain Covers
Fabrication Of Fence Gate, A/C Frames & Water Tank Bases
Damaged Metal Door And Door Frame
Sign Post
Damaged Fence
Guard Rails
Gate
Frames
Lock And Key
Replace door lock
Unlock Door
Lock Cabinet
Unlock Cabinet
Fix door closure
Defected Cabinet Lock Needs To Repair / Replace
Defected Door Handle/ Panic Device Need To Fix
Missing Door Handle/ Panic Device
Installation Of New Lock Set
Issue A New Key / Copy Of A Key
Copy Of A Key
Masonry Work
Damaged Block Wall Need To Repair
Constructing of Block Wall & Concrete Floor
Damaged Plastering Wall Needs To Repair
Damaged Cladding Needs Replacement
Missing Cladding Needs Installing
Roofing
Other
Blocked roof drain need fix
Asphalting and road
Damaged asphalting need repair
Road marking need repaint
Curbstone need repair
Asphalte settlement need repair
Interlock pavers need repair
Cracked asphalting need repair
Defective Tissue Dispenser
Defective Soap Dispenser
Others
Other
Others
Others
Others
Others
Other
Irrigation
Check For Leakage In Irrigation Network
Avoid Over Watering
Avoid Under Watering
Removal Of Damaged Irrigation Network
Return Damaged Spare Parts To Warehouse
Repair Damaged / Defected Irrigation Network
Replace Damaged / Defected Irrigation Network
Rectify Leakage Due To Damaged/ Defected / Popped Out Bubbler Heads
Rectify Leakage Due To Missing Emitters Or Damaged LDPE Laterals
Rectify Leakage/ Bleeding From Damaged / Defected Rotors
Rectify Leakage/ Bleeding From Damaged / Defected Sprayers
Rectify Leakage Due To Damaged PVC Laterals
Rectify Leakage Due To Damages To HDPE Sub Main
Rectify Leakage Due To Damaged / Defected HDPE Stub Out
Verify and Adjust To Optimum Pressure In Local Secondary Irrigation Lines
Repair / Replace Damaged / Defected Solenoid Valve
Replace Damaged / Defected Master Valve
Replace Damaged / Defected Gate Valve
Replace Damaged / Defected Quick Coupling Valve
Replace Damaged Irrigation Valve Box
Repair / Replace Damaged / Defected Maxi Wire and 12v Control Cabling 24
Repair / Replace Defected / Damaged Main Irrigation Controller
Repair / Replace Defected / Damaged Field Satellite
Repair / Replace Defected / Damaged Solar Panel & Battery Assembly
Repair / Replace Defected / Damaged Central Control Components
Repair / Replace Defected / Damaged TWI
Check For Proper Functioning Of TWI
Repair / Replace Defected / Damaged Flow Sensor
Repair / Replace Defected / Damaged Decoder
Repair / Replace Defected / Damaged Weather Station
Repair / Replace Defected / Damaged Flow Meter
Check Calibration Of Flow Meter and Make Sure To Get Reading From BMS
Repair / Replace Defected / Damaged Irrigation Central Filter (Fitco)
Make Cleaning & Maintenance For Irrigation Central Filter
Check Functioning Of The Control Panel Of Irrigation Central Filter
Make Maintenance For Y Strainer Y
Make Maintenance For Solenoid Valve and Box
Make Maintenance For Main Irrigation Controller Check Controller Power
Make Maintenance For Bubblers Including Its Filters
Make Maintenance For Rotors
Make Maintenance For Sprays
Make Maintenance For Solar Panel and Battery Assembly
Adjust Sprinkler Direction and Throw
Make Manual Irrigation By Tankers
Enhance / Revise Irrigation Controller Program Change Irrigation Timing / Period
Check Functioning Of All Central Control Program Parameter Like Flow Manager, Flow Watch, Water Budg
Adjust LDPE Lateral Tubing
Avoid Soil Erosion Due To Excess Irrigation Or Pressure
Adjust Rotors Direction and Throw
Adjust Bubblers Direction and Throw
Cleaning The Sprinkler / Rotor Heads / Filter
Flushing The Lateral Lines
Flushing / Cleaning The Drip Lines / Drippers / Emitters
Replacement Of Damaged / Missing Lateral Lines
Replacement Of Damaged / Missing - Drip Lines / Drippers / Emitters
Replacement Of Damaged / Missing Bubblers / Rotors
Replacement Of Damaged / Missing Sprinklers
Rectify leakage on Main Line .
Make Safegaurd on Solenoid valbe box .
Others
Request Indoor Plants
Others
Trees/Palms
Remove Dead Trees/Palms
Replace Dead Trees/Palms
Prune Dried Fronds
Make Stripping For The Trunks
Clean Tree/Palms Waste
Make Proper Water Basin Around Palms and Maintain Soil and Leveling
Make Weeding In The Palm Basins
Apply Fertilizers & Micronutrients For Palms
Apply Pesticides For Palms
Apply Herbicides Around Palm Basins
Make Palm Pollination
Harvest Dates
Propping / Supporting Fruit Bunches Of Date Palms
Covering Fruit Bunches Of Date Palms
Apply Fertilizers & Micronutrients For Trees
Off Shoot / Sucker / Aerial Sucker Removal
Remove inflorescence and Dates fruites.
Remove fallen Date Palm.
Conduct soil test on palm trees.
Shade Trees
Remove Dead Or Infected Trees and Backfill Tree Pits
Replace Dead Trees
Remove & Replace Dead Or Infected Trees
Make Pruning and Shaping Of Canopy
Make Clipping Of Unwanted Branches
Clean & Dispose Tree Waste
Make Proper Water Basin Around Trees and Maintain Soil and Leveling
Make Weeding Around The Tree Basin
Apply Fertilizers & Micronutrients For Trees
Apply Pesticides For Trees
Apply Herbicides Around Tree Basin
Foliage Cleaning
Staking & Guying / Tying
Off Shoot / Sucker / Aerial Sucker Removal
Remove fallen Tree.
Conduct soil test on trees.
Make Proper Staking and Guying For Trees
MTR Room
Fiber disconnected
System not working
Damaged network cabinet
Link down
Patch cord damage
high loss signal
Other
Gas Suppression System (FM200, NOVEC)
Public Address System
Fire Alarm Activation
Fire alarm panel bleeping/ alert
Loop Cards Issue
Panel Battery Issue
Communication error
Detector Issue
Interface unit issue
Disable devices
Restore Devices
Fix smoke detector
Fix fire hose reel
Fire Fighting System
Fire Hose reel cabinet
Lock shield / Gate valve checking
Water Leak
Pressure Inspection
Hose Clip secure
condition inspection / repair
Others
Pipe Leak
Fire Extinguishers
Physical Damage
Inspection for Discharge nozzle
Pressure gauge reading
Others
Sprinklers
Inspection for Physical damage
Sprinkler cap issue
Check zone valves
Gauge condition
Pressure Availability
Pipe corroded
Others
Fire Hydrants
Checking for End cap connections and valve's handle
Water Leaks
Check water flowing
Valve Identification
Pressure availability
Check identification plate
Check moving parts
Isolate fire hydrant
Restore fire hydrant
Others
NOVEC System
Alarm on the panel
Detectors Defective
Solenoid Valve defective
Nozzle checking
Check Novec Cylinder
Others
Fire Fighting Check Valve rooms
Check Non return Valves
Check the Zones for pressure
Check the pressure gauges
Checked the isolation valves
Room needs cleaning
Water Leak
Isolate water to certain zone
Restore water to certain zone
Check Wet alarm check valve
Check Zone control valve
Others
MCP issue
Others
Positive Fire Alarm
Renewal Access Card
Camera Not Working
Payment Issue
Parking Space Request
Update Plate Numbers
Delete Plate Numbers
Intercom Issue
Receipt Issue
Barrier arm Not working
Barrier arm Damaged
Others
Air Condition
Not Working
Hot
Cold
Noisy
Water Leak
Change Filter
Others
Lighting
Busted Fuse
Grounded Wire
Burnt Transformer
Burnt Ballast
Fix light pillar/fixture
Cleaning of Lighting Fixture
Light flickering
Light switch not working
Adjust light timer/photocell
Install extra light bulb
Uninterruptable Power Supply (UPS)
Invertor Upnormal Operation
Battery Discharged
Burnt Up Fuse
UPS Output Overload
Defective battery
Axial fan not working
UPS Not Operation
Chemical Level Of The Batteries Is Low
Defective Breaker
Defective Invertor
Emergency Light Defective
Lighting system joints
Lighting system joints damage
Lighting system joints tightness
Lighting system joint splicing
Street Lighting
No Power
Light Blinking
Burnt Ballast
Detached Fixture
Broken Light Diffuser
Misaligned light pole
Misaligned light fixture
Defective photocell
Others
Traffic Lights And Signals
Busted Lamp
Misaligned Fixture
No Output From Controller
Broken Light Diffuser
Others
Main Switchboards
Circuit Breaker Trip
Grounded Feeder Cable
Circuit Breaker Defective
Burnt Fuse
Others
Others
Home Appliances
Refrigeration Issues
Dishwasher Issues
Washing machine Issues
Dryer machine Issues
Microwave Issues
Oven Issues
Kitchen stove Issues
TV not working
Internet services & Communications
Request a new Modem/Router
Modem/Router Not working
WiFi poor signal
Telephone Issues
Others
Elevators
Hydraulic Failure
Induction Motor Failure
Burn out electrical system
Unusual Noise
UC Valve Failure
Elevator not working
Itermittent Operation
Valve Leaking
Busted Indicator Bulbs
Motor Pump failure
Defective AHU
Traction Rope fault
Governor Tripping
Traction Rope fault
Elevator door open/close failure
Elevator Stucked
Buttons Not Working
Elevator cabinet light not working
Elevator ventilation not working
Car operating panel failure
Loose Screws
Others
Escalators
Drive Unit failure
Polythern Gear failure
Defective Component
Drive Chain failure
Pressure Roller failure
Unusual Noise
Escalator Not Working
Defective Handrail
Control Panel Fault
Defective V-Belts
Emergency Stop Switch Failure
Motor failure
Defective Rollers
Defective Nylon Guide
Comb lights Failure
Busted comb lights
Defective Step Comb
Fault Finder Panel Failure
Busted Light Indicator fault
Defective Component
Busted Light
Others
Water Supply
No Water Supply
Low Pressure
High Pressure
Major Water Leak
Water Leak
Pipe Leak